The valve shall be a normally closed, electronically-actuated, diaphragm-operated, remote-control valve. The valve will be capable of operating between___________and_____________PSI (bars; kPa) with a flow range of between________and________GPM (m3/hr; l/m). Pressure loss shall be ____________PSI (bars; kPa) maximum at_______GPM (m3/hr; l/m).

The valve shall be available in a globe body style with 1-, 1-1/2-, 2- or 3-inch Female National Pipe Thread (FNPT) inlet and outlet. When specified, the valve shall be configured with British Standard Pipe threads. The valve shall be equipped with a flow control mechanism with removable handle that will regulate flow from full on to completely off. When specified for use with reclaimed water, a reclaimed water identifier handle shall be available.

The body and bonnet shall be constructed of solid brass rated to 220 PSI (15 bars, 1500 kPa). The bonnet bolts shall be serviceable with a slotted screwdriver, Phillips screwdriver, or a hex wrench, and shall be held captive in the bonnet when the bonnet is removed from the valve body. The diaphragm assembly shall be of molded construction, reinforced with nylon fabric and have a thermoplastic elastomer seating material. The valve shall be equipped with an internal filter as well as a self-cleaning metering rod, so only clean water can enter the solenoid chamber. A filter cleaning system that cleans a stainless steel filter each time the valve opens and closes, shall be standard.  All metal parts internal to the valve shall be manufactured from corrosion-resistant stainless steel.

The valve shall be available with an optional adjustable pressure regulating device with a calibrated dial for setting of the outlet pressure. (The regulator shall be capable of adjusting the outlet pressure from between 20 and 100 PSI (1.4 to 7.0 bars; 138 to 689 kPa) when inlet pressure is 15 PSI (1.0 bars; 103 kPa) or greater than regulated outlet pressure.) The regulated downstream pressure shall remain constant regardless of variations in upstream pressure. The regulation shall be maintained when valve is manually operated with use of internal bleed valve.

The standard solenoid shall be a 24 VAC unit with a 350 mA inrush current and 190 mA holding current at 60 cycles and a 370 mA inrush current and 210 mA holding current at 50 cycles. When specified, the unit shall be equipped with a DC latching solenoid for use with battery-operated controllers. The solenoid shall be an encapsulated, one-piece unit with captive plunger. It shall be equipped with manual internal bleed capability to release the upper chamber water to the downstream piping, allowing the valve to open.

The valve shall carry a five-year, exchange warranty (not prorated).

The valve shall be manufactured by Hunter Industries Incorporated, San Marcos, California.